**A close up of a sign

Description automatically generated**

3607 Parkway Lane, Suite 200

Peachtree Corners, GA 30092

Tel: 770-729-2992; 1-888-494-8555

Fax: 770-206-2393

www.raybiotech.com

orders@raybiotech.com

**Array Scanning and Analysis Services**

**Thank you for choosing RayBiotech’s Scanning and Analysis Services. Please completely fill out the information below to ensure accurate and timely processing.**

|  |  |  |  |
| --- | --- | --- | --- |
| **# of Slides** |  | **Submission Date** |  |
| **Antibody Array Catalog #** |  | **Contact Name** |  |
| **Contact Telephone** |  |
| **Type of Service**  **(Scanning Only OR Scanning and Analysis)** |  | **Contact Email** |  |
| **Billing Contact Name/Number** |  |
| **Indicate if samples contain HIV, hepatitis or other viruses** |  | **Distributor Name**  **(if ordered through a distributor)** |  |
| **Payment: credit card, P.O., wire transfer or check** |  | **Quote #** |  |
| **University/Institution** |  | **Additional Info** |  |
|  |  | **FedEx Account number.** |  |

**Slide Shipment Preparation**

Ensure the slide(s) is washed sufficiently with Wash Buffer I and II and then completely dried as described in the protocol. If the slide(s) has any remaining debris, gently spray with distilled or de-ionized water prior to drying and then insert into the polypropylene 30ml conical centrifuge tube (or the Slide Washer/Dryer tube) provided with the kit. Refrain from touching the slide surface, holding the slide by the edges only. Securely fasten the cap and wrap the entire tube with aluminum foil to protect it from light. Please send your slide(s) priority overnight and on blue ice packs (4ºC) to:

Raybiotech Inc.

Attn: Service Department

3607 Parkway Lane, Suite 100

Norcross, GA 30092

**Note:** The fluorescent dye used is fairly resistant to photo-bleaching but it is still recommended that the slides are handled with care and kept away from direct exposure to heat or light.

**Note:** Red and black permanent markers can significantly interfere with fluorescent signal detection. We recommend marking your slides with a green or blue ultra-fine point permanent marker.

**Please clearly label the Slide Numbers and Array IDs below. If you are sending more than 4 slides, please print out multiple pages.**

Slide #: Slide #: Slide #: Slide #:

**Please clearly label the Slide Numbers and Array IDs below. Print more pages if you have >4 two-well slides.**

Slide #: Slide #: Slide #: Slide #:

**Please clearly label the Slide Numbers and Array IDs below. Print more pages if you have >4 four-well slides.**

Slide #: Slide #: Slide #: Slide #: